## 175 W FF (PFM)
TEST CERTIFICATE
Customer : M/s.Warmup
PO No : PO27778 | [5 empty] | ORIGINAL
PO Dt : 21.01.2026 | [5 empty] | S.NO: SFHM-Wup-211
Product : STICKY FLOOR HEATING MAT TWIN 175W/M.Sq. (PMB) | [5 empty] | DATE : 27.02.2026
Mode of shipment : By Sea
Sl. | MAT | MAT SIZE | NOMINAL POWER | MAT RESISTANCE | IR VALUE | HIGH VOLTAGE TEST
No. | No. | (In Mtrs) | at 230 V | (in Ohms) | (in MEGA OHMS) | AT 3 KV FOR 60 SEC.
|  |  | (WATT) | (at 20degC )
1 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
2 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
3 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
4 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
5 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
6 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
7 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
8 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
9 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
10 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
11 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
12 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
13 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
14 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
15 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
16 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
17 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
18 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
19 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
20 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
21 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
22 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
23 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
24 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
25 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
26 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
27 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
28 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
29 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
30 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
31 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
32 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
33 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
34 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
35 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
36 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
37 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
38 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
39 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
40 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
41 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
42 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
43 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
44 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
45 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
46 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
47 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
48 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
49 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
50 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
51 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
52 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
53 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
54 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
55 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
56 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
57 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
58 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
59 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
60 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
61 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
62 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
63 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
64 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
65 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
66 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
67 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
68 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
69 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
70 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
71 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
72 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
73 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
74 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
75 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
76 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
77 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
78 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
79 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
80 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
81 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
82 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
83 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
84 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
85 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
86 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
87 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
88 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
89 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
90 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
91 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
92 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
93 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
94 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
95 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
96 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
97 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
98 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
99 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
100 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
101 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
102 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
103 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
104 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
105 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
106 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
107 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
108 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
109 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
110 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
111 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
112 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
113 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
114 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
115 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
116 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
117 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
118 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
119 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
120 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
121 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
122 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
123 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
124 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
125 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
126 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
127 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
128 |  | 0.5 x 3 | 262.5 |  | > 500 | No Breakdown
1 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
2 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
3 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
4 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
5 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
6 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
7 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
8 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
9 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
10 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
11 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
12 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
13 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
14 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
15 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
16 |  | 0.5 x 5 | 437.5 |  | > 500 | No Breakdown
1 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
2 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
3 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
4 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
5 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
6 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
7 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
8 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
9 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
10 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
11 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
12 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
13 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
14 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
15 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
16 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
17 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
18 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
19 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
20 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
21 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
22 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
23 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
24 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
25 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
26 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
27 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
28 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
29 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
30 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
31 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
32 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
33 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
34 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
35 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
36 |  | 0.5 x 10 | 875 |  | > 500 | No Breakdown
1 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
2 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
3 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
4 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
5 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
6 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
7 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
8 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
9 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
10 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
11 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
12 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
13 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
14 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
15 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
16 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
17 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
18 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
19 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
20 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
21 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
22 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
23 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
24 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
25 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
26 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
27 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
28 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
29 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
30 |  | 0.5 x 20 | 1750 |  | > 500 | No Breakdown
for THERMOPADS PVT LTD
CHECKED BY |  |  |  |  | APPROVED BY