## Sheet2
TEST CERTIFICATE
Customer : M/s.Warmup
PO No : PO27805 | [5 empty] | ORIGINAL
PO Dt : 05.02.2026 | [5 empty] | S.No : UTHCT-Wup-282
Product : UTHC-T, 13.8 W/m(DCM-C) | [5 empty] | DATE : 21.03.2026
Mode of shipment : By Sea
Sl. | CABLE | LENGTH | NOMINAL POWER | CABLE RESISTANCE | IR VALUE | HIGH VOLTAGE TEST
No. | Sl.No. | (In Mtrs) | at 230 V | (in Ohms) | (in MEGA OHMS) | AT 3 KV FOR 60 SEC.
|  |  | (WATT) | (at 20degC)
1 | 30102A | 10.9 | 150 | 363.1701 | > 500 | No Breakdown
2 | 30103A | 10.9 | 150 | 358.8705 | > 500 | No Breakdown
3 | 30104A | 10.9 | 150 | 361.6703 | > 500 | No Breakdown
4 | 30105A | 10.9 | 150 | 361.9702 | > 500 | No Breakdown
5 | 30106A | 10.9 | 150 | 361.9702 | > 500 | No Breakdown
6 | 30107A | 10.9 | 150 | 361.5703 | > 500 | No Breakdown
7 | 30108A | 10.9 | 150 | 359.4702 | > 500 | No Breakdown
8 | 30109A | 10.9 | 150 | 363.5701 | > 500 | No Breakdown
9 | 30110A | 10.9 | 150 | 360.0704 | > 500 | No Breakdown
10 | 30114A | 10.9 | 150 | 360.9703 | > 500 | No Breakdown
11 | 30115A | 10.9 | 150 | 360.4704 | > 500 | No Breakdown
12 | 30116A | 10.9 | 150 | 360.7703 | > 500 | No Breakdown
13 | 30117A | 10.9 | 150 | 360.4704 | > 500 | No Breakdown
14 | 30119A | 10.9 | 150 | 360.8703 | > 500 | No Breakdown
15 | 30120A | 10.9 | 150 | 360.6703 | > 500 | No Breakdown
16 | 30123A | 10.9 | 150 | 360.3704 | > 500 | No Breakdown
17 | 30131A | 10.9 | 150 | 360.17 | > 500 | No Breakdown
18 | 30134A | 10.9 | 150 | 360.5697 | > 500 | No Breakdown
1 | 29871A | 16.3 | 225 | 238.9931 | > 500 | No Breakdown
2 | 29872A | 16.3 | 225 | 238.1931 | > 500 | No Breakdown
3 | 29874A | 16.3 | 225 | 237.9931 | > 500 | No Breakdown
4 | 29875A | 16.3 | 225 | 239.3932 | > 500 | No Breakdown
5 | 29877A | 16.3 | 225 | 238.2932 | > 500 | No Breakdown
6 | 29878A | 16.3 | 225 | 240.1931 | > 500 | No Breakdown
7 | 29879A | 16.3 | 225 | 239.893 | > 500 | No Breakdown
8 | 29881A | 16.3 | 225 | 240.793 | > 500 | No Breakdown
9 | 29882A | 16.3 | 225 | 240.193 | > 500 | No Breakdown
10 | 29883A | 16.3 | 225 | 237.9931 | > 500 | No Breakdown
11 | 29884A | 16.3 | 225 | 239.693 | > 500 | No Breakdown
12 | 29885A | 16.3 | 225 | 238.993 | > 500 | No Breakdown
13 | 29889A | 16.3 | 225 | 238.693 | > 500 | No Breakdown
14 | 29890A | 16.3 | 225 | 238.393 | > 500 | No Breakdown
15 | 29894A | 16.3 | 225 | 240.593 | > 500 | No Breakdown
16 | 29896A | 16.3 | 225 | 240.593 | > 500 | No Breakdown
17 | 29897A | 16.3 | 225 | 240.393 | > 500 | No Breakdown
18 | 29898A | 16.3 | 225 | 239.2929 | > 500 | No Breakdown
1 | 00185135D | 27.2 | 375 | 140.0059 | > 500 | No Breakdown
2 | 00185136D | 27.2 | 375 | 139.6568 | > 500 | No Breakdown
3 | 00185137D | 27.2 | 375 | 139.5638 | > 500 | No Breakdown
4 | 00185138D | 27.2 | 375 | 139.6726 | > 500 | No Breakdown
5 | 00185139D | 27.2 | 375 | 139.4998 | > 500 | No Breakdown
6 | 00185140D | 27.2 | 375 | 139.8488 | > 500 | No Breakdown
7 | 00185141D | 27.2 | 375 | 140.0105 | > 500 | No Breakdown
8 | 00185142D | 27.2 | 375 | 139.7752 | > 500 | No Breakdown
9 | 00185143D | 27.2 | 375 | 139.5519 | > 500 | No Breakdown
10 | 00185144D | 27.2 | 375 | 139.6519 | > 500 | No Breakdown
11 | 00185145D | 27.2 | 375 | 139.699 | > 500 | No Breakdown
12 | 00185146D | 27.2 | 375 | 140.4569 | > 500 | No Breakdown
13 | 00185147D | 27.2 | 375 | 139.601 | > 500 | No Breakdown
14 | 00185148D | 27.2 | 375 | 139.6893 | > 500 | No Breakdown
15 | 00185149D | 27.2 | 375 | 139.7694 | > 500 | No Breakdown
16 | 00185150D | 27.2 | 375 | 139.6576 | > 500 | No Breakdown
17 | 00185151D | 27.2 | 375 | 139.6418 | > 500 | No Breakdown
18 | 00185152D | 27.2 | 375 | 140.0595 | > 500 | No Breakdown
19 | 00185153D | 27.2 | 375 | 139.5264 | > 500 | No Breakdown
20 | 00185154D | 27.2 | 375 | 140.001 | > 500 | No Breakdown
21 | 00185155D | 27.2 | 375 | 139.7314 | > 500 | No Breakdown
22 | 00185156D | 27.2 | 375 | 139.6844 | > 500 | No Breakdown
23 | 00185157D | 27.2 | 375 | 140.0118 | > 500 | No Breakdown
24 | 00185158D | 27.2 | 375 | 140.2119 | > 500 | No Breakdown
25 | 00185159D | 27.2 | 375 | 139.4605 | > 500 | No Breakdown
26 | 00185161D | 27.2 | 375 | 139.8492 | > 500 | No Breakdown
27 | 00185163D | 27.2 | 375 | 140.0331 | > 500 | No Breakdown
28 | 00185165D | 27.2 | 375 | 139.9755 | > 500 | No Breakdown
29 | 00185166D | 27.2 | 375 | 140.0569 | > 500 | No Breakdown
30 | 00185167D | 27.2 | 375 | 139.7608 | > 500 | No Breakdown
31 | 00185168D | 27.2 | 375 | 139.9343 | > 500 | No Breakdown
32 | 00185169D | 27.2 | 375 | 140.1227 | > 500 | No Breakdown
33 | 00185170D | 27.2 | 375 | 140.208 | > 500 | No Breakdown
34 | 00185171D | 27.2 | 375 | 140.0753 | > 500 | No Breakdown
35 | 00185172D | 27.2 | 375 | 139.5065 | > 500 | No Breakdown
36 | 00185173D | 27.2 | 375 | 139.6207 | > 500 | No Breakdown
37 | 00185174D | 27.2 | 375 | 139.9527 | > 500 | No Breakdown
38 | 00185175D | 27.2 | 375 | 139.6166 | > 500 | No Breakdown
39 | 00185176D | 27.2 | 375 | 139.5823 | > 500 | No Breakdown
40 | 00185177D | 27.2 | 375 | 140.0696 | > 500 | No Breakdown
41 | 00185178D | 27.2 | 375 | 140.005 | > 500 | No Breakdown
42 | 00185179D | 27.2 | 375 | 140.0733 | > 500 | No Breakdown
43 | 00185180D | 27.2 | 375 | 140.0566 | > 500 | No Breakdown
44 | 00185181D | 27.2 | 375 | 139.6335 | > 500 | No Breakdown
45 | 00185182D | 27.2 | 375 | 139.6488 | > 500 | No Breakdown
46 | 00185183D | 27.2 | 375 | 140.0096 | > 500 | No Breakdown
47 | 00185184D | 27.2 | 375 | 140.1098 | > 500 | No Breakdown
48 | 00185185D | 27.2 | 375 | 140.0029 | > 500 | No Breakdown
49 | 00185186D | 27.2 | 375 | 140.0481 | > 500 | No Breakdown
50 | 00185187D | 27.2 | 375 | 140.2174 | > 500 | No Breakdown
51 | 00185188D | 27.2 | 375 | 140.081 | > 500 | No Breakdown
52 | 00185189D | 27.2 | 375 | 139.723 | > 500 | No Breakdown
53 | 00185190D | 27.2 | 375 | 139.7162 | > 500 | No Breakdown
54 | 00185191D | 27.2 | 375 | 140.1682 | > 500 | No Breakdown
55 | 00185193D | 27.2 | 375 | 139.7815 | > 500 | No Breakdown
56 | 00185194D | 27.2 | 375 | 140.0631 | > 500 | No Breakdown
57 | 00185195D | 27.2 | 375 | 140.0928 | > 500 | No Breakdown
58 | 00185196D | 27.2 | 375 | 140.1008 | > 500 | No Breakdown
59 | 00185197D | 27.2 | 375 | 139.9082 | > 500 | No Breakdown
60 | 00185198D | 27.2 | 375 | 140.1023 | > 500 | No Breakdown
61 | 00185199D | 27.2 | 375 | 139.9529 | > 500 | No Breakdown
62 | 00185200D | 27.2 | 375 | 140.1137 | > 500 | No Breakdown
63 | 00185201D | 27.2 | 375 | 141.4993 | > 500 | No Breakdown
64 | 00185202D | 27.2 | 375 | 140.0079 | > 500 | No Breakdown
65 | 00185203D | 27.2 | 375 | 141.8883 | > 500 | No Breakdown
66 | 00185204D | 27.2 | 375 | 141.6549 | > 500 | No Breakdown
67 | 00185205D | 27.2 | 375 | 140.0958 | > 500 | No Breakdown
68 | 00185206D | 27.2 | 375 | 140.1831 | > 500 | No Breakdown
69 | 00185207D | 27.2 | 375 | 140.2079 | > 500 | No Breakdown
70 | 00185208D | 27.2 | 375 | 140.1196 | > 500 | No Breakdown
71 | 00185209D | 27.2 | 375 | 139.781 | > 500 | No Breakdown
72 | 00185210D | 27.2 | 375 | 139.6788 | > 500 | No Breakdown
73 | 00185211D | 27.2 | 375 | 141.8933 | > 500 | No Breakdown
74 | 00185212D | 27.2 | 375 | 140.1282 | > 500 | No Breakdown
75 | 00185213D | 27.2 | 375 | 139.6688 | > 500 | No Breakdown
76 | 00185214D | 27.2 | 375 | 139.7688 | > 500 | No Breakdown
77 | 00185215D | 27.2 | 375 | 139.7619 | > 500 | No Breakdown
78 | 00185216D | 27.2 | 375 | 140.1965 | > 500 | No Breakdown
79 | 00185217D | 27.2 | 375 | 140.1546 | > 500 | No Breakdown
80 | 00185218D | 27.2 | 375 | 140.1586 | > 500 | No Breakdown
81 | 00185219D | 27.2 | 375 | 140.1667 | > 500 | No Breakdown
82 | 00185220D | 27.2 | 375 | 140.0256 | > 500 | No Breakdown
83 | 00185222D | 27.2 | 375 | 140.0193 | > 500 | No Breakdown
84 | 00185223D | 27.2 | 375 | 140.0649 | > 500 | No Breakdown
85 | 00185224D | 27.2 | 375 | 140.0606 | > 500 | No Breakdown
86 | 00260817B | 27.2 | 375 | 140.1667 | > 500 | No Breakdown
87 | 00260826B | 27.2 | 375 | 140.0256 | > 500 | No Breakdown
88 | 00260827B | 27.2 | 375 | 140.0193 | > 500 | No Breakdown
89 | 00260833B | 27.2 | 375 | 140.0649 | > 500 | No Breakdown
90 | 00260850B | 27.2 | 375 | 140.0606 | > 500 | No Breakdown
1 | 00185293D | 32.7 | 450 | 116.7474 | > 500 | No Breakdown
2 | 00185294D | 32.7 | 450 | 116.6063 | > 500 | No Breakdown
3 | 00185295D | 32.7 | 450 | 116.8041 | > 500 | No Breakdown
4 | 00185296D | 32.7 | 450 | 116.8969 | > 500 | No Breakdown
5 | 00185297D | 32.7 | 450 | 116.5676 | > 500 | No Breakdown
6 | 00185298D | 32.7 | 450 | 116.8422 | > 500 | No Breakdown
7 | 00185299D | 32.7 | 450 | 116.7744 | > 500 | No Breakdown
8 | 00185300D | 32.7 | 450 | 117.2352 | > 500 | No Breakdown
9 | 00185301D | 32.7 | 450 | 116.7791 | > 500 | No Breakdown
10 | 00185303D | 32.7 | 450 | 116.8409 | > 500 | No Breakdown
11 | 00185304D | 32.7 | 450 | 117.0508 | > 500 | No Breakdown
12 | 00185305D | 32.7 | 450 | 116.7316 | > 500 | No Breakdown
13 | 00185306D | 32.7 | 450 | 116.32 | > 500 | No Breakdown
14 | 00185307D | 32.7 | 450 | 116.7025 | > 500 | No Breakdown
15 | 00185308D | 32.7 | 450 | 116.7373 | > 500 | No Breakdown
16 | 00185309D | 32.7 | 450 | 116.7931 | > 500 | No Breakdown
17 | 00185310D | 32.7 | 450 | 116.9394 | > 500 | No Breakdown
18 | 00185311D | 32.7 | 450 | 116.8421 | > 500 | No Breakdown
19 | 00185312D | 32.7 | 450 | 116.8326 | > 500 | No Breakdown
20 | 00185313D | 32.7 | 450 | 116.8611 | > 500 | No Breakdown
21 | 00185314D | 32.7 | 450 | 116.4679 | > 500 | No Breakdown
22 | 00185316D | 32.7 | 450 | 116.8638 | > 500 | No Breakdown
23 | 00185317D | 32.7 | 450 | 116.304 | > 500 | No Breakdown
24 | 00185318D | 32.7 | 450 | 116.4606 | > 500 | No Breakdown
25 | 00185319D | 32.7 | 450 | 117.3793 | > 500 | No Breakdown
26 | 00185320D | 32.7 | 450 | 116.5841 | > 500 | No Breakdown
27 | 00185321D | 32.7 | 450 | 116.6467 | > 500 | No Breakdown
28 | 00185322D | 32.7 | 450 | 117.1132 | > 500 | No Breakdown
29 | 00185323D | 32.7 | 450 | 117.0168 | > 500 | No Breakdown
30 | 00185324D | 32.7 | 450 | 116.9538 | > 500 | No Breakdown
31 | 00185325D | 32.7 | 450 | 116.726 | > 500 | No Breakdown
32 | 00185326D | 32.7 | 450 | 116.3882 | > 500 | No Breakdown
33 | 00185327D | 32.7 | 450 | 116.6297 | > 500 | No Breakdown
34 | 00185328D | 32.7 | 450 | 116.5562 | > 500 | No Breakdown
35 | 00185329D | 32.7 | 450 | 116.8841 | > 500 | No Breakdown
36 | 00185330D | 32.7 | 450 | 116.7343 | > 500 | No Breakdown
1 | 00094319D | 38.1 | 525 | 100.4828 | > 500 | No Breakdown
2 | 00155749D | 38.1 | 525 | 100.4133 | > 500 | No Breakdown
3 | 00156737D | 38.1 | 525 | 100.4478 | > 500 | No Breakdown
4 | 00163039D | 38.1 | 525 | 100.6275 | > 500 | No Breakdown
5 | 00163040D | 38.1 | 525 | 100.4331 | > 500 | No Breakdown
6 | 00167495D | 38.1 | 525 | 100.1851 | > 500 | No Breakdown
7 | 00167496D | 38.1 | 525 | 100.288 | > 500 | No Breakdown
8 | 00167497D | 38.1 | 525 | 100.383 | > 500 | No Breakdown
9 | 00167498D | 38.1 | 525 | 100.383 | > 500 | No Breakdown
10 | 00185232D | 38.1 | 525 | 100.4828 | > 500 | No Breakdown
11 | 00185233D | 38.1 | 525 | 100.4133 | > 500 | No Breakdown
12 | 00185234D | 38.1 | 525 | 100.4478 | > 500 | No Breakdown
13 | 00185235D | 38.1 | 525 | 100.6275 | > 500 | No Breakdown
14 | 00185236D | 38.1 | 525 | 100.4331 | > 500 | No Breakdown
15 | 00185237D | 38.1 | 525 | 100.1851 | > 500 | No Breakdown
16 | 00185238D | 38.1 | 525 | 100.288 | > 500 | No Breakdown
17 | 00185239D | 38.1 | 525 | 100.383 | > 500 | No Breakdown
18 | 00185240D | 38.1 | 525 | 100.3755 | > 500 | No Breakdown
19 | 00185241D | 38.1 | 525 | 100.426 | > 500 | No Breakdown
20 | 00185242D | 38.1 | 525 | 100.4996 | > 500 | No Breakdown
21 | 00185243D | 38.1 | 525 | 100.1551 | > 500 | No Breakdown
22 | 00185244D | 38.1 | 525 | 100.4241 | > 500 | No Breakdown
23 | 00185245D | 38.1 | 525 | 100.4007 | > 500 | No Breakdown
24 | 00185246D | 38.1 | 525 | 100.6212 | > 500 | No Breakdown
25 | 00185247D | 38.1 | 525 | 100.2672 | > 500 | No Breakdown
26 | 00185248D | 38.1 | 525 | 100.4814 | > 500 | No Breakdown
27 | 00185249D | 38.1 | 525 | 100.1231 | > 500 | No Breakdown
28 | 00185250D | 38.1 | 525 | 100.436 | > 500 | No Breakdown
29 | 00185251D | 38.1 | 525 | 100.5615 | > 500 | No Breakdown
30 | 00185252D | 38.1 | 525 | 100.3127 | > 500 | No Breakdown
31 | 00185253D | 38.1 | 525 | 100.5403 | > 500 | No Breakdown
32 | 00185254D | 38.1 | 525 | 100.5821 | > 500 | No Breakdown
33 | 00185255D | 38.1 | 525 | 100.4587 | > 500 | No Breakdown
34 | 00185256D | 38.1 | 525 | 100.2371 | > 500 | No Breakdown
35 | 00185257D | 38.1 | 525 | 100.3746 | > 500 | No Breakdown
36 | 00185258D | 38.1 | 525 | 100.4277 | > 500 | No Breakdown
37 | 00185259D | 38.1 | 525 | 100.3189 | > 500 | No Breakdown
38 | 00185260D | 38.1 | 525 | 100.383 | > 500 | No Breakdown
39 | 00185261D | 38.1 | 525 | 100.2747 | > 500 | No Breakdown
40 | 00185262D | 38.1 | 525 | 100.1287 | > 500 | No Breakdown
41 | 00185263D | 38.1 | 525 | 100.4519 | > 500 | No Breakdown
42 | 00185264D | 38.1 | 525 | 100.3552 | > 500 | No Breakdown
43 | 00185265D | 38.1 | 525 | 100.2425 | > 500 | No Breakdown
44 | 00185266D | 38.1 | 525 | 100.4587 | > 500 | No Breakdown
45 | 00185267D | 38.1 | 525 | 100.4917 | > 500 | No Breakdown
46 | 00185268D | 38.1 | 525 | 100.3231 | > 500 | No Breakdown
47 | 00185269D | 38.1 | 525 | 100.2229 | > 500 | No Breakdown
48 | 00185270D | 38.1 | 525 | 100.3302 | > 500 | No Breakdown
49 | 00185271D | 38.1 | 525 | 100.304 | > 500 | No Breakdown
50 | 00185272D | 38.1 | 525 | 100.1943 | > 500 | No Breakdown
51 | 00185273D | 38.1 | 525 | 100.5608 | > 500 | No Breakdown
52 | 00185274D | 38.1 | 525 | 100.3699 | > 500 | No Breakdown
53 | 00185275D | 38.1 | 525 | 100.4377 | > 500 | No Breakdown
54 | 00185276D | 38.1 | 525 | 100.3303 | > 500 | No Breakdown
55 | 00185277D | 38.1 | 525 | 100.1399 | > 500 | No Breakdown
56 | 00185278D | 38.1 | 525 | 100.4801 | > 500 | No Breakdown
57 | 00185279D | 38.1 | 525 | 100.4593 | > 500 | No Breakdown
58 | 00185280D | 38.1 | 525 | 100.3516 | > 500 | No Breakdown
59 | 00185281D | 38.1 | 525 | 100.2258 | > 500 | No Breakdown
60 | 00185282D | 38.1 | 525 | 100.3884 | > 500 | No Breakdown
61 | 00185283D | 38.1 | 525 | 100.5523 | > 500 | No Breakdown
62 | 00185284D | 38.1 | 525 | 100.6687 | > 500 | No Breakdown
63 | 00185285D | 38.1 | 525 | 100.4503 | > 500 | No Breakdown
64 | 00185286D | 38.1 | 525 | 100.654 | > 500 | No Breakdown
65 | 00185287D | 38.1 | 525 | 100.2877 | > 500 | No Breakdown
66 | 00185288D | 38.1 | 525 | 100.2971 | > 500 | No Breakdown
67 | 00185289D | 38.1 | 525 | 100.2797 | > 500 | No Breakdown
68 | 00185290D | 38.1 | 525 | 100.1394 | > 500 | No Breakdown
69 | 00185291D | 38.1 | 525 | 100.3005 | > 500 | No Breakdown
70 | 00185292D | 38.1 | 525 | 100.2696 | > 500 | No Breakdown
71 | 05789A | 38.1 | 525 | 100.3005 | > 500 | No Breakdown
72 | 05794A | 38.1 | 525 | 100.2696 | > 500 | No Breakdown
1 | 00167286D | 54.4 | 750 | 70.1659 | > 500 | No Breakdown
2 | 00167287D | 54.4 | 750 | 70.1912 | > 500 | No Breakdown
3 | 00167288D | 54.4 | 750 | 69.7921 | > 500 | No Breakdown
4 | 00167289D | 54.4 | 750 | 70.2119 | > 500 | No Breakdown
5 | 00167290D | 54.4 | 750 | 70.2592 | > 500 | No Breakdown
6 | 00167294D | 54.4 | 750 | 70.2108 | > 500 | No Breakdown
7 | 00167302D | 54.4 | 750 | 69.7882 | > 500 | No Breakdown
8 | 00167303D | 54.4 | 750 | 70.3009 | > 500 | No Breakdown
9 | 00167305D | 54.4 | 750 | 70.3855 | > 500 | No Breakdown
10 | 00167424D | 54.4 | 750 | 69.9829 | > 500 | No Breakdown
11 | 00167425D | 54.4 | 750 | 70.166 | > 500 | No Breakdown
12 | 00167426D | 54.4 | 750 | 70.1025 | > 500 | No Breakdown
13 | 00167427D | 54.4 | 750 | 70.3087 | > 500 | No Breakdown
14 | 00167428D | 54.4 | 750 | 70.4979 | > 500 | No Breakdown
15 | 00167429D | 54.4 | 750 | 70.1456 | > 500 | No Breakdown
16 | 00167431D | 54.4 | 750 | 70.0774 | > 500 | No Breakdown
17 | 00167432D | 54.4 | 750 | 70.545 | > 500 | No Breakdown
18 | 00167474D | 54.4 | 750 | 70.4608 | > 500 | No Breakdown
19 | 00167475D | 54.4 | 750 | 70.2738 | > 500 | No Breakdown
20 | 00167480D | 54.4 | 750 | 70.1531 | > 500 | No Breakdown
21 | 00167481D | 54.4 | 750 | 70.4619 | > 500 | No Breakdown
22 | 00167484D | 54.4 | 750 | 70.5742 | > 500 | No Breakdown
23 | 00167485D | 54.4 | 750 | 70.4522 | > 500 | No Breakdown
24 | 00167487D | 54.4 | 750 | 70.5726 | > 500 | No Breakdown
25 | 00167493D | 54.4 | 750 | 70.5143 | > 500 | No Breakdown
26 | 00185967D | 54.4 | 750 | 69.2773 | > 500 | No Breakdown
27 | 00185969D | 54.4 | 750 | 68.9993 | > 500 | No Breakdown
28 | 00185970D | 54.4 | 750 | 69.3473 | > 500 | No Breakdown
29 | 00185971D | 54.4 | 750 | 69.2811 | > 500 | No Breakdown
30 | 00185972D | 54.4 | 750 | 69.4979 | > 500 | No Breakdown
31 | 00185973D | 54.4 | 750 | 69.6905 | > 500 | No Breakdown
32 | 00185974D | 54.4 | 750 | 68.7684 | > 500 | No Breakdown
33 | 00185975D | 54.4 | 750 | 69.4101 | > 500 | No Breakdown
34 | 00185976D | 54.4 | 750 | 68.9781 | > 500 | No Breakdown
35 | 00185977D | 54.4 | 750 | 68.964 | > 500 | No Breakdown
36 | 00185978D | 54.4 | 750 | 69.2715 | > 500 | No Breakdown
37 | 00185979D | 54.4 | 750 | 69.1352 | > 500 | No Breakdown
38 | 00185980D | 54.4 | 750 | 69.2563 | > 500 | No Breakdown
39 | 00185981D | 54.4 | 750 | 69.4973 | > 500 | No Breakdown
40 | 00185982D | 54.4 | 750 | 69.1834 | > 500 | No Breakdown
41 | 00185983D | 54.4 | 750 | 69.2109 | > 500 | No Breakdown
42 | 00185984D | 54.4 | 750 | 69.6517 | > 500 | No Breakdown
43 | 00185985D | 54.4 | 750 | 69.2866 | > 500 | No Breakdown
44 | 00185986D | 54.4 | 750 | 68.6815 | > 500 | No Breakdown
45 | 00185987D | 54.4 | 750 | 69.08 | > 500 | No Breakdown
46 | 00185988D | 54.4 | 750 | 69.4175 | > 500 | No Breakdown
47 | 00185989D | 54.4 | 750 | 68.4641 | > 500 | No Breakdown
48 | 00185990D | 54.4 | 750 | 69.23 | > 500 | No Breakdown
1 | 00185436D | 65.3 | 900 | 59.427 | > 500 | No Breakdown
2 | 00185437D | 65.3 | 900 | 58.8901 | > 500 | No Breakdown
3 | 00185438D | 65.3 | 900 | 58.9696 | > 500 | No Breakdown
4 | 00185439D | 65.3 | 900 | 59.0096 | > 500 | No Breakdown
5 | 00185440D | 65.3 | 900 | 58.8699 | > 500 | No Breakdown
6 | 00185441D | 65.3 | 900 | 58.9716 | > 500 | No Breakdown
7 | 00185442D | 65.3 | 900 | 58.9138 | > 500 | No Breakdown
8 | 00185443D | 65.3 | 900 | 58.9906 | > 500 | No Breakdown
9 | 00185444D | 65.3 | 900 | 58.9282 | > 500 | No Breakdown
10 | 00185445D | 65.3 | 900 | 58.9321 | > 500 | No Breakdown
11 | 00185446D | 65.3 | 900 | 58.8567 | > 500 | No Breakdown
12 | 00185447D | 65.3 | 900 | 58.9762 | > 500 | No Breakdown
13 | 00185449D | 65.3 | 900 | 58.9334 | > 500 | No Breakdown
14 | 00185450D | 65.3 | 900 | 58.9416 | > 500 | No Breakdown
15 | 00185451D | 65.3 | 900 | 58.9038 | > 500 | No Breakdown
16 | 00185452D | 65.3 | 900 | 58.9918 | > 500 | No Breakdown
1 | 00185417D | 87.1 | 1200 | 44.0198 | > 500 | No Breakdown
2 | 00185418D | 87.1 | 1200 | 44.0605 | > 500 | No Breakdown
3 | 00185419D | 87.1 | 1200 | 44.0597 | > 500 | No Breakdown
4 | 00185420D | 87.1 | 1200 | 44.021 | > 500 | No Breakdown
5 | 00185421D | 87.1 | 1200 | 44.0382 | > 500 | No Breakdown
6 | 00185422D | 87.1 | 1200 | 44.0316 | > 500 | No Breakdown
7 | 00185423D | 87.1 | 1200 | 44.0478 | > 500 | No Breakdown
8 | 00185424D | 87.1 | 1200 | 44.0047 | > 500 | No Breakdown
9 | 00185425D | 87.1 | 1200 | 43.9986 | > 500 | No Breakdown
10 | 00185426D | 87.1 | 1200 | 44.0203 | > 500 | No Breakdown
11 | 00185427D | 87.1 | 1200 | 44.0398 | > 500 | No Breakdown
12 | 00185428D | 87.1 | 1200 | 43.9943 | > 500 | No Breakdown
13 | 00185429D | 87.1 | 1200 | 43.9949 | > 500 | No Breakdown
14 | 00185430D | 87.1 | 1200 | 43.9901 | > 500 | No Breakdown
15 | 00185431D | 87.1 | 1200 | 44.0422 | > 500 | No Breakdown
16 | 00185432D | 87.1 | 1200 | 43.9924 | > 500 | No Breakdown
17 | 00185433D | 87.1 | 1200 | 44.0308 | > 500 | No Breakdown
18 | 00185434D | 87.1 | 1200 | 44.0869 | > 500 | No Breakdown
1 | 00271579B | 98 | 1350 | 38.9404 | > 500 | No Breakdown
2 | 00271580B | 98 | 1350 | 38.8601 | > 500 | No Breakdown
3 | 00271581B | 98 | 1350 | 38.9056 | > 500 | No Breakdown
4 | 00271582B | 98 | 1350 | 38.9157 | > 500 | No Breakdown
5 | 00271583B | 98 | 1350 | 38.6904 | > 500 | No Breakdown
6 | 00271584B | 98 | 1350 | 38.7475 | > 500 | No Breakdown
7 | 00271585B | 98 | 1350 | 38.9866 | > 500 | No Breakdown
8 | 00271586B | 98 | 1350 | 38.7934 | > 500 | No Breakdown
9 | 00271587B | 98 | 1350 | 38.6539 | > 500 | No Breakdown
10 | 00271588B | 98 | 1350 | 38.9179 | > 500 | No Breakdown
11 | 00271589B | 98 | 1350 | 38.9053 | > 500 | No Breakdown
12 | 00271590B | 98 | 1350 | 38.8253 | > 500 | No Breakdown
13 | 00271591B | 98 | 1350 | 39.2647 | > 500 | No Breakdown
14 | 00271592B | 98 | 1350 | 38.8434 | > 500 | No Breakdown
15 | 00271593B | 98 | 1350 | 38.7301 | > 500 | No Breakdown
16 | 00271594B | 98 | 1350 | 39.8247 | > 500 | No Breakdown
1 | 00180259D | 130.6 | 1800 | 29.3797 | > 500 | No Breakdown
2 | 00180260D | 130.6 | 1800 | 29.394 | > 500 | No Breakdown
3 | 00180261D | 130.6 | 1800 | 29.4512 | > 500 | No Breakdown
4 | 00180262D | 130.6 | 1800 | 29.4726 | > 500 | No Breakdown
5 | 00180263D | 130.6 | 1800 | 29.1097 | > 500 | No Breakdown
6 | 00180264D | 130.6 | 1800 | 29.5696 | > 500 | No Breakdown
7 | 00271595B | 130.6 | 1800 | 29.3797 | > 500 | No Breakdown
8 | 00271596B | 130.6 | 1800 | 29.394 | > 500 | No Breakdown
9 | 00271597B | 130.6 | 1800 | 29.4512 | > 500 | No Breakdown
10 | 00271598B | 130.6 | 1800 | 29.4726 | > 500 | No Breakdown
11 | 00271599B | 130.6 | 1800 | 29.1097 | > 500 | No Breakdown
12 | 00271600B | 130.6 | 1800 | 29.5696 | > 500 | No Breakdown
13 | 00271601B | 130.6 | 1800 | 29.4385 | > 500 | No Breakdown
14 | 00271602B | 130.6 | 1800 | 29.6149 | > 500 | No Breakdown
15 | 00271603B | 130.6 | 1800 | 29.1879 | > 500 | No Breakdown
16 | 00271604B | 130.6 | 1800 | 29.4648 | > 500 | No Breakdown
17 | 00271605B | 130.6 | 1800 | 29.1773 | > 500 | No Breakdown
18 | 00271606B | 130.6 | 1800 | 29.1888 | > 500 | No Breakdown
19 | 00271607B | 130.6 | 1800 | 29.2123 | > 500 | No Breakdown
20 | 00271608B | 130.6 | 1800 | 29.6652 | > 500 | No Breakdown
21 | 00271609B | 130.6 | 1800 | 29.2019 | > 500 | No Breakdown
22 | 00271610B | 130.6 | 1800 | 29.1554 | > 500 | No Breakdown
23 | 00271611B | 130.6 | 1800 | 29.1889 | > 500 | No Breakdown
24 | 00271612B | 130.6 | 1800 | 29.1684 | > 500 | No Breakdown
25 | 00271613B | 130.6 | 1800 | 29.2234 | > 500 | No Breakdown
26 | 00271614B | 130.6 | 1800 | 29.6345 | > 500 | No Breakdown
27 | 00271615B | 130.6 | 1800 | 29.2066 | > 500 | No Breakdown
28 | 00271616B | 130.6 | 1800 | 29.4076 | > 500 | No Breakdown
29 | 00343710C | 130.6 | 1800 | 29.2234 | > 500 | No Breakdown
30 | 00343712C | 130.6 | 1800 | 29.6345 | > 500 | No Breakdown
31 | 00343721C | 130.6 | 1800 | 29.2066 | > 500 | No Breakdown
32 | 00343722C | 130.6 | 1800 | 29.4076 | > 500 | No Breakdown
1 | 00167674D | 174.1 | 2400 | 21.4325 | > 500 | No Breakdown
2 | 00167677D | 174.1 | 2400 | 21.7329 | > 500 | No Breakdown
3 | 00167684D | 174.1 | 2400 | 21.4516 | > 500 | No Breakdown
4 | 00179540D | 174.1 | 2400 | 22.1437 | > 500 | No Breakdown
5 | 00185453D | 174.1 | 2400 | 21.4325 | > 500 | No Breakdown
6 | 00185454D | 174.1 | 2400 | 21.7329 | > 500 | No Breakdown
7 | 00185455D | 174.1 | 2400 | 21.4516 | > 500 | No Breakdown
8 | 00185456D | 174.1 | 2400 | 22.1437 | > 500 | No Breakdown
9 | 00185457D | 174.1 | 2400 | 21.7342 | > 500 | No Breakdown
10 | 00185458D | 174.1 | 2400 | 21.7 | > 500 | No Breakdown
11 | 00185459D | 174.1 | 2400 | 21.7496 | > 500 | No Breakdown
12 | 00185460D | 174.1 | 2400 | 21.5109 | > 500 | No Breakdown
13 | 00185461D | 174.1 | 2400 | 21.4251 | > 500 | No Breakdown
14 | 00185462D | 174.1 | 2400 | 21.7072 | > 500 | No Breakdown
15 | 00185463D | 174.1 | 2400 | 21.7153 | > 500 | No Breakdown
16 | 00185464D | 174.1 | 2400 | 21.4235 | > 500 | No Breakdown
17 | 00185465D | 174.1 | 2400 | 21.468 | > 500 | No Breakdown
18 | 00185466D | 174.1 | 2400 | 21.6756 | > 500 | No Breakdown
19 | 00185467D | 174.1 | 2400 | 21.7357 | > 500 | No Breakdown
20 | 00185468D | 174.1 | 2400 | 21.4756 | > 500 | No Breakdown
21 | 00185469D | 174.1 | 2400 | 21.4884 | > 500 | No Breakdown
22 | 00185470D | 174.1 | 2400 | 21.5099 | > 500 | No Breakdown
23 | 00185471D | 174.1 | 2400 | 21.747 | > 500 | No Breakdown
24 | 00185472D | 174.1 | 2400 | 21.7178 | > 500 | No Breakdown
25 | 00185473D | 174.1 | 2400 | 21.4645 | > 500 | No Breakdown
26 | 00185474D | 174.1 | 2400 | 21.6941 | > 500 | No Breakdown
27 | 00185475D | 174.1 | 2400 | 21.6973 | > 500 | No Breakdown
28 | 00185476D | 174.1 | 2400 | 21.7091 | > 500 | No Breakdown
29 | 00185477D | 174.1 | 2400 | 21.6832 | > 500 | No Breakdown
30 | 00185478D | 174.1 | 2400 | 21.7236 | > 500 | No Breakdown
31 | 00185479D | 174.1 | 2400 | 21.6895 | > 500 | No Breakdown
32 | 00185480D | 174.1 | 2400 | 21.6991 | > 500 | No Breakdown
for THERMOPADS PVT LTD
CHECKED BY |  |  |  |  | APPROVED BY